	
	University of Pittsburgh

749 BNDM Hall

Bioengineering Dept

Pittsburgh PA 15213


	Number: 003

	
	
	Doc. No. HFA-003
	Rev. 2

	
	
	Date: 3/16/04
	Status: Draft



	Number:
	HFE-003
	Revision:
	2

	Title:
	Human Factors

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of AGM, Inc. and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Heather Gray
	1/16/04

	[Originating dept. approval]
	
	

	[Other dept. approval]
	Emily Miner
	1/16/04

	Quality Assurance
	Erdrin Azemi
	1/16/04

	General Management
	AGM, Inc.
	1/16/04


1.0 Purpose

1.1. To determine possible user errors and inconsistencies that could occur during use of the product

2.0 Scope

2.1. The re-design of the filter will be based upon the efficiency of components and their risk assessment.

3.0 References

3.1 N/A

4.0 Revision History

4.1. Revision 1:  Proper document formatting

4.2  Revision 2:  Update of document

Safety of the end-user

· perform a stroke scale evaluation on the patient to detect risk of thromboembolism 

· treat the patient prior to surgery with blood thinners and anti-thromboembolic medications for several days

· close monitoring of activated clotting time would be necessary during surgery

· close monitoring of the patients blood pressure during surgery

· throughout the entire procedure the endovascular filter should be kept sterile

· when using Nitinol is imperative to keep the filter at appropriate temperatures

Need/Requirements of the end-user are met

· by the insertion of this filter, risk of thromboembolism should decrease

· physicians should be well trained to perform this procedure

Optimal Performance of the device

· investigate different materials for better performance and duration of the filter

· perform several in vitro trials before using on patients, to ensure filter conforms to different vessel sizes therefore reducing the risk of a thromboembolism 

· research the performance of previous devices (questionnaire)

· have the user of the device, physicians or surgeons, undergo thorough training on    

      the use of filter

PAGE  

