Confidential
Doc. No. FM-000 Rev. 1, Date: 10/31/2002
Status: Draft 

	[image: image1.jpg]Biocompatible
w=023%

Safety / Mechanical

w=0.43 “\\ Reliable L—"1 w=1
w=02 \
Electrical
w=1
Filtering
w=0.13
Bioartificial ™ /
10;@&1 Liver Cell Viabilits
rer Functionalit w=01%
o i \
Maintain
Blood Flow
w=012
Patient Immobility
Requirements
w=0.02
Patient ' Caregiver /
Convenience
w=0_1
\ Care
Requirements

w=0.03






	Gerlach Bioreactor Group

B 62 Benedum Hall

Pittsburgh, PA 15213


	Standard Controlled Document Form

	
	
	Doc. No.  GBG-PITT-008
	Rev. 3

	
	
	Date: 04/02/04
	Status: Final



	Number:
	GBG-PITT-008
	Revision:
	3

	Title:
	Object Tree

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of the Gerlach Bioreactor Group and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Jon Washburn
	04/02/04

	[Originating dept. approval]
	
	

	[Other dept. approval]
	
	

	Quality Assurance
	Marina Udowenko
	04/02/04

	General Management
	John Pani
	04/02/04


1.0 Purpose

1.1. To develop criteria on which to judge the design (e.g. cost, safety, time to market)

1.2. Use in scoring design alternatives

2.0 Scope

2.1. This document pertains to bioreactors and bioreactor systems developed by and for the Bioreactor Perfusion Lab and the Bioreactor Group at the University of Pittsburgh McGowan Institute for Regenerative Medicine, located in Pittsburgh

3.0 References

3.1. Product design specification, function means documents

4.0 Object Tree

4.1. Safety

4.2. Functionality

4.3. Patient / caregiver convenience

5.0 Revision History

5.1. Revision 1 – 11/17/03 - GBG-PITT-008

5.2. Revision 2 – 03/04/04 – GBG-PITT-008

5.3. Revision 3 – 04/02/04 – GBG-PITT-008

[image: image2.png]



FORM: F0005 Standard Controlled Document Form.doc 

Page 1 of 2
GBG-PITT-008

Page 2 of 2

