	ECMOre
	B62 Benedum Hall

Pittsburgh PA 15262

412-555-9873
	Standard Controlled Document Form

	
	
	Doc. No.  FMT-002
	Rev. 2

	
	
	Date: 04/16/2004
	Status: Final



	Number:
	FMT-002
	Revision:
	2

	Title:
	Function Means Tree

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of ECMOre and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Desiree Bonadonna
	04/16/2004

	[Originating dept. approval]
	Bioengineering
	04/16/2004

	[Other dept. approval]
	Electrical Engineering
	04/16/2004

	Quality Assurance
	Laura Gilmour
	04/16/2004

	General Management
	Apryle Craig
	04/16/2004


1.0 Purpose

1.1. To visually outline the functions and means of those functions for the proposed product.

2.0 Scope

2.1. Affects the FMEA and Human Factors Analysis.

3.0 References

3.1. PDS Series

4.0 Function Means Tree
5.0 Revision History

5.1. FMT-001; Revision 1; 12/03/2003

5.2. FMT-002; Revision 2; 04/16/2004 FINAL

Audible


Alarm





Audible


Alarm





Audible


Alarm





Locking


Mechanism





Locking mechanism








Locking


mechanism





Dial





Dial





Dial





Digital





Digital





Digital








Display independent


of alarm function








Ease of


Healthcare


personnel











Display independent


Of alarm function








Ease of


Healthcare


personnel











Display independent


Of alarm function








Ease of


Healthcare


personnel





Programmable





Programmable





Programmable





Visual 


Alarm








Visual


Alarm





Visual


Alarm





Post-heat exchanger


sensor





Post-oxygenator/pre-heat exchanger


sensor





Pre-oxygenator


sensor








Indicate clot


In heat 


exchanger











Indicate clot


In oxygenator








Indicate too


Much draw


From patient





ECMO 


Pressure 


Alarm System








Maintain physiological pressure








FMT-002

Page 1 of 2

