Confidential
Doc. No. FM-000 Rev. 1, Date: 10/31/2002
Status: Draft 

	PediaCool, Inc.
	749 Benedum Engineering Hall

University of Pittsburgh

Pittsburgh, PA 15261
	Standard Controlled Document Form

	
	
	Doc. No. HFA 0001-0001
	Rev. 3

	
	
	Date: 4/17/04
	Status: Draft



	Number:
	HFA 0001-0003
	Revision:
	3

	Title:
	Human Factors Analysis: Neonatal Heat Exchanger Design

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of PediaCool, Inc. and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Adam Abdulally
	4/17/04

	[Originating dept. approval]
	Kimberly Albrecht
	4/17/04

	[Other dept. approval]
	Erin Aghamehdi
	4/17/04

	Quality Assurance
	Rebecca Hrutkay
	4/17/04

	General Management
	PediaCool, Inc.
	


1.0 Purpose

1.1. The purpose of this document is to identify sources of error and identify means of reducing or eliminating those sources of error.

2.0 Scope

2.1. Re-design of a heat exchanger to rapidly induce hypothermic conditions.

3.0 References

3.1. N/A

4.0 Revision History

4.1. Revision 1 – HFA 0001-0001 – 12/01/03 - Original design of a cooling block incorporated into the ECMO circuit for inducing hypothermic conditions. 

4.2. Revision 2 – HFA 0001-0002 – 2/28/04 - Design change to the re-design of an ECMO heat exchanger. 

4.3. Revision 3 – HFA 0001-0003 – 4/17/04 - Pressure sensor on outlet of heat exchanger; prevention of cooling fluid leakage; prevention of tubing kinks; prevention of inefficient cooling; quality control measures; selection of biocompatible materials; clear labeling; minimization of blood damage.

Human Factors Analysis:

Safety of the end-user (patient):

· Prevention of inefficient cooling of the blood 

· Prevention of cooling fluid leaking into the patient blood

· Prevention of tubing kinks, reducing or restricting blood flow to patient

· No increase in required patient priming volume

· Proper installation of heat exchanger into ECMO circuit

· No clot or thromboemboli formation

· Pressure sensor on outlet of heat exchanger

Needs/requirements of the end-user will be met:

· Design of the heat exchanger such that it rapidly cools the blood to the desired temperature: large enough surface area and selection of material such that efficient heat exchange can occur through tubing wall

· Design of heat exchanger to minimize priming volume: countercurrent flow with patient blood on the inside of microfiber tubing

· Establish quality control measures to test seals and other factors that could contribute to cooling fluid leaking into the blood

· Prevention of clotting through the selection of biocompatible materials and testing of the heat exchanger under physiological conditions

· Clear labeling of heat exchanger: blood inlet and outlet versus cooling fluid inlet and outlet

Optimal Performance of the device:

· Components are durable- ability to withstand high flows

· Easy placement of cooling unit within the ECMO circuit

· Rapid cooling/gradual warming easily achieved 

· Heat exchanger is easily integrated into the ECMO circuit

· No clot or thromboemboli formation during the use of the heat exchanger

· Minimum impact on blood components

FORM: F0005 Standard Controlled Document Form.doc 

Page 1 of 1
Document3

Page 1 of 2

