Confidential
Doc. No. FM-000 Rev. 1, Date: 10/31/2002
Status: Draft 

	PediaCool, Inc.
	749 Benedum Engineering Hall

University of Pittsburgh

Pittsburgh, PA 15261
	Standard Controlled Document Form

	
	
	Doc. No. WOT 0001-0002
	Rev. 2

	
	
	Date: 4/9/04
	Status: Draft



	Number:
	WOT 0001-0002
	Revision:
	2

	Title:
	Weighted Objective Tree for the Design of a Neonatal Heat Exchanger

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of PediaCool, Inc. and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Rebecca Hrutkay
	4/9/04

	[Originating dept. approval]
	Kimberly Albrecht
	4/9/04

	[Other dept. approval]
	Adam Abdulally
	4/10/04

	Quality Assurance
	Erin Aghamehdi
	4/09/04

	General Management
	PediaCool, Inc.
	


1.0 Purpose

1.1. The purpose of this document is to assign relative values to all of the different aspects involved in the design of a neonatal heat exchanger.
2.0 Scope

2.1. Re-design of an ECMO heat exchanger to rapidly induce hypothermic conditions.
3.0 References

3.1. N/A
4.0 Revision History

4.1. Revision 1 – WOT 0001-0001 - Original cooling block design.

4.2. Revision 2 – WOT 0001-0002 - Re-design of a heat exchanger utilizing a polypropylene fiber bundle.


























































































































































































































































































































































































Rapid cooling of blood to desired temperature         0.15





Neonatal


Heat


Exchanger








Safety       0.20





 Cost         0.05





Ease of Use 0.10





Reliability 0.20





Performance 0.45





Maintenance of desired patient temperature   0.20





Gradual reheating of patient blood to 37(C    0.10





Accurate cooling of blood to desired temperature      0.10





Continual usage in ECMO circuit	               0.10





Patient temperature does not fall below the minimum  (32(C )       		             0.125





Gradual reheating of the patient 	             0.075





Minimizes patient priming volume	               0.07





Simple integration into ECMO circuit          0.015





Minimal training		     	             0.015





Selection of biocompatible materials              0.05








FORM: F0005 Standard Controlled Document Form.doc 

Page 1 of 2
Document2


Page 1 of 2

