Confidential
Doc. No. FM-000 Rev. 1, Date: 10/31/2002
Status: Draft 

	CAI
	748 Benedum Hall

Pittsburgh, PA 15313

(412) 983-2413
	Standard Controlled Document Form

	
	
	Doc. No. FM-000
	Rev. 1

	
	
	Date: 04/17/2004
	Status: Draft



	Number:
	[Document number]
	Revision:
	1

	Title:
	Fault Tree Analysis

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of Ension, Inc. and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Mihoko Hashimoto
	12/05/2003


1.0 Purpose

1.1. To analyze potential system failures to determine the basic component level failures .

2.0 Scope

2.1. This document examines hazards presented in the Initial Hazard Analysis to further analyze potential system failures.

3.0 References

3.1. SP-00057: Risk Management Planning

3.2. SP-00008: Product Development Procedure

3.3. 2004-0001: Product Design Specifications

3.4. 2004-0003: Function-Means Tree

3.5. 2004-0005: Initial Hazard Analysis

3.6. 2004-0006: Fault Tree

3.7. 2004-0007: FMEA

3.8. TP-0001: Pressure Sensor Accuracy

3.9. TP-0002: Detect Rapid Pressure Changes

3.10 TP-0003: Sensor Response to Suction

4.0 Revision History

4.1. Revision 1

· Reformatted document to include section 1.0: purpose, section 2.0: scope, section 3.0: references and section 4.0: revision history.


Signal interference/ degradation





Interruption of transmitted signal





Loss of transmitting capabilities





Object blocks sensor





Sensor forced against atrial wall








Inaccurate signal reading





Sensor damage 





Loss of power





Pressure sensor





Interruption of signal to transmitter





Electrical transmission to heart muscle





Mechanical detachment





Pressure Sensor Complex





Transmitter





Enlarged tear at septal puncture site





Human Interaction





Device Failure Modes








FORM: F0005 Standard Controlled Document Form.doc 

Page 1 of 2


Page 1 of 3

