Confidential
Doc. No. FM-000 Rev. 1, Date: 10/31/2002
Status: Draft 

	CAI
	Address: 743 Benedum Hall

Pittsburgh, PA 15213

Phone Number: (412) 948-2413
	Standard Controlled Document Form

	
	
	Doc. No. 2004-0003
	Rev. 2

	
	
	Date: 03/02/2004
	Status: Draft



	Number: 
	2004-0001
	Revision:
	2

	Title: 
	Function-Means Tree

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of CardiacAssist, Inc. and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Mihoko Hashimoto
	12/05/2003

	[Originating dept. approval]
	
	

	[Other dept. approval]
	
	

	Quality Assurance
	
	

	General Management
	
	


1.0 Purpose

1.1. Aid in identifying means of implementing desired device functions.

2.0 Scope

2.1. This tree affects documents regarding device design specifications and test procedures to establish that criteria are met.

3.0 References

3.1. 2004-0001: Product Design Specifications

3.2. TP-0001: Pressure Sensor Accuracy

3.3. TP-0002: Detect Rapid Pressure Changes

3.4. TP-0003: Sensor Response to Suction

4.0 Revision History

4.1. Revision 1

· Addition of “Detect rapid LAP changes” under Accuracy function. 

· Change Mechanism to Safety under “Electrical coupling…”.  

· Addition of EMC and FCC compliance under Safety.

4.2. Revision 2

· Reformatted document to include section 1.0: Purpose, section 2.0: Scope, section 3.0: References, and section 4.0: Revision History.


Safety





Mechanism





Within 


extended


low range (0 or neg mmHg) 





Within range:


5-15mmHg





Wide range of temperatures (+ manufacturing)





Durability under


high pressure





Tolerance





Between RF transmitter 


& receiver





Between sensor & RF transmitter 





Accuracy





Accuracy





Power in to 


pressure sensor





Electrical coupling 


of pressure sensor 


& RF transmitter





Optimal 


placement(s) and adhesion of 


pressure sensor(s)





Small pressure sensor at the tip of the cannula





RF transmitter complex for signal 


transmission





Measurement


of Left Atrial Pressure (LAP)





Incorporating a pressure sensor – RF transmitter complex on the cannula tip





Improved safety and efficiency 


of TandemHeartTM PTVA System





Detect rapid LAP changes 





Compliant w/ FCC for RF exposure; Electomagnetically Compliant








FORM: F0005 Standard Controlled Document Form.doc 

Page 1 of 1


Page 2 of 3

