Confidential
Doc. No. FM-000 Rev. 1, Date: 10/31/2002
Status: Draft 

	
[image: image2.jpg]Namuh

Technologies, Inc.




	249 Meyran Ave. Apt 1

Pittsburgh PA, 15213
	Standard Controlled Document Form

	
	
	Doc. No. PDS-001.000
	Rev. 0

	
	
	Date: 3-1-04
	Status: Draft



	Number:
	PDS-001.000
	Revision:
	0

	Title:
	Product Design Specification for Pulse Oximeter Redesign

	UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP

This document is the confidential property of Ension, Inc. and may not be reproduced without prior written consent.

	Revision Approvals:
	Date

	Originator
	Sam Audia
	3-1-04

	[Originating dept. approval]
	
	

	[Other dept. approval]
	
	

	Quality Assurance
	
	

	General Management
	
	


1.0 Purpose

1.1. Product design specification for pulse oximeter redesign

2.0 Scope

2.1. Design specifications with respect to advise from Sandra Gartner

3.0 References

N/A

4.0 Subject Headings

N/A

5.0 Revision History

N/A

Product Design Specification

1) Secure Attachment to patient

2) Low Device cost

a. Disposable parts must be extremely inexpensive

b. <<$15

3) Reliable Operation

a. Measures O2 saturation accurately

b. Measure BPM accurately

4) Reduce false alarms

a. Differentiate alarms between gradual decrease in o2 saturation and sudden drop (indicates device falling off)

5) Universal Connectivity

a. Hospital equipment should be able to report values

FORM: F0005 Standard Controlled Document Form.doc 

Page 2 of 2
H:\bioweb\04\GROUPS\Pulse_oximiter\DHF\Specification\PDS\cover_PDS-001.000.doc


Page 1 of 2

[image: image1][image: image2.jpg]