Arthrometric, Inc.

K. Bieryla, K. Fronczak

M. Loehr, E. Rainis


Product Design Specification
The arthromeasure must be user friendly and take into account the following:

· Size

· Needs to fit within a 8 mm arthroscopic portal

· Safety

· Has to be sterile

· Accuracy

· Within 5 mm for measurements b and c

· Within 1 cm for measurement a

· Cost

· Must be kept to a minimum

Last updated:  12/1/03

v. 3


