## Sheet1
Michael Audette
Christopher Sullivan |  | Biocompatibility - Rev 1 - 4/22/06
Jonathan Hughes
Table 1 - Initial evaluation test for consideration
Nature of body contact |  | Contact duration A - Limited (< 24 hours) B - prolonged (< 30 days) C - permanent (>30 days) | Chronic toxicity | Carcinogenicity | Reproductive/developmental | Biodegradation | Cytotoxicity | Sensitization | Irritation or intracutaneous reactivity | Systemic toxicity (acute) | Subacute and subchronic toxicity | Benotoxicity | Implantation | Haemocompatibility
Category | Contact
Surface device | Skin | A | x |  |  |  | x |  |  | x |  | x |  | x
B
C
| Mucosal membrane | A |  |  |  | x |  |  | x |  |  |  | x | x
B
C
| Breached or compromised surface | A | x
B
C
External communicating device | Blood path, indirect | A | x |  | x | [5 empty] | x | x | x | x
B
C
| Tissue/bone/dentin | A | x |  |  | x |  |  | x |  | x |  |  | x
B
C
| Circulating blood | A | x |  |  | x |  |  | x |  | x |  |  | x
B
C
Implant device | Tissue/bone | A | x |  |  | x | x |  |  | x |  | x | x | x
B
C
| Blood | A | x |  |  | x | x |  |  | x |  |  | x | x
B
C
The 316 Stainless steel and polyurethane plastic that our device is manufactured out of both have significant amounts of biocompatibility data available, so this
data can be used to determine biocompatability issues.