| Number: | IHA - 1 |  | Revision: | 2 |  |
| --- | --- | --- | --- | --- | --- |
| Project: | Intraosseus Needle with Distal Sideports |  |  |  |  |
| Title: | Initial Hazard Analysis |  |  |  |  |
| UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP This document is the property of the members of the group project ‘Intraosseus Needle with Distal Sideports’ and may not be reproduced without prior written consent |  |  |  |  | STAMP HERE |
| Revision Approvals: |  |  |  |  | Date |
| Author |  | Mike Audette, Jon Hughes, Christopher J. Sullivan |  |  | 4/22/2006 |
| Clinical |  | James J. Menegazzi, PhD, Dept. of Emergency Medicine |  |  | 4/22/2006 |
| Engineering |  | Jon Hughes |  |  | 4/22/2006 |
| Quality Assurance |  | Mike Audette |  |  | 4/22/2006 |
| General Management |  | Christopher Sullivan |  |  | 4/22/2006 |

- Purpose

1.1. Determine the possible hazards associated with the intraosseous needle.

- Scope

2.1. The needle will be redesigned in order to eliminate the hazards and make the 	 	  device more efficient.

- Revision History

4.1. Original: 10/12/05

4.2. Revised Final Version: 4/10/06

Initial Hazard Analysis

- Potential hazards associated with the device being developed

  - Human Errors

    - Needlesticks

    - Poor technique resulting in improper infusion point

  - Mechanical Errors

    - Broken needle

    - Needle dimensions not correct (manufactured improperly)

  - Operational Complications

    - Infection

      - Resulting from contamination

      - Open wound exposure

    - Needle or trocar inside needle getting stuck in the bone / breaking off inside patient

    - Excess in necessary force to insert needle could fracture bone

    - Tissue damage to patient’s insides

      - Striking vasculature or nerves