Survey for Volumetric Airflow Gauge

The volumetric airflow gauge in question is designed to be incorporated into most standard mechanical ventilation (BVM) systems.  The overall goal of the device is to offer the Healthcare Provider a constant display of air volumes being administered to patients, effectively eliminating over/under inflation as well as other undesired side-effects.  The device will be powered by a 9V replaceable battery and may be reused after disinfecting with alcohol.  The device was designed by Mr. Guy Guimond, Clinical Coordinator; Center for Emergency Medicine-UPMC, with assistance provided by the University of Pittsburgh’s Bioengineering Department.

Please take a moment to complete the survey below.  Your answers are greatly appreciated and will help further refine the device prior to the anticipated market date.  Your questions/comments are greatly appreciated and may be forwarded to jmk70@pitt.edu, attn:  Mr. Kiswardy.

Please rate the following questions on a scale from 1-5, with 1 indicating “none/very difficult” and 5 indicating “optimum/very easy”

- The legibility of the LCD display				1    2    3    4    5

- Ease of adaptability to a BVM ventilator					1    2    3    4    5

- Usefulness of battery power LED indicator				1    2    3    4    5

- Usefulness of pulsating LED indicating user when			1    2    3    4    5

to inflate (green light=inflate, red=rest)

- Ease of training a Healthcare Provider with the Device			1    2    3    4    5

- Overall improvement over existing BVM ventilators

Please answer the following questions:

- In your opinion, is having to periodically replace the battery 		  yes      no

a major deterrent in product marketability?

- Do you foresee this device being used in a training setting?		  yes      no

- Given the current pricing of mechanical ventilators and other similar equipment, what would be a reasonable price-point for the reusable volumetric airflow gauge?  ______

________________________________________

- Any additional comments/questions ________________________________________

_____________________________________________________________________

_____________________________________________________________________