RISK INDEX

Retractable Tubing Device for Oxygen Therapy

JMAN: Jamie Haney, Mike Smithula, Andrew Vidokle, Nathan Sendgikoski

| Probability of Occurrence | Severity I Low / Negligible | Severity II Minor (No direct injury, some discomfort) | Severity III Critical (Marginal degree of injury) | Severity IV Catastrophic (Could lead to serious injury or fatality) |
| --- | --- | --- | --- | --- |
| Improbable | 1 | 4 | 6 | 9 |
| Remote | 2 | 7 | 11 | 13 |
| Occasional | 3 | 10 | 15 | 17 |
| Probable | 5 | 12 | 16 | 19 |
| Frequent | 8 | 14 | 18 | 20 |

| HAZARD RISK INDEX | RISK SCORE | ACCEPTANCE CRITERIA |
| --- | --- | --- |
| 1 to 5 | I | Acceptable without review |
| 6 to 9 | II | Acceptable upon completion of quality assurance review |
| 10 to 16 | III | Undesirable: Written and reviewed decision required to proceed |
| 17 to 20 | IV | Unacceptable |